## CCTV
CCTV Systems
Sr. NO. | Assets | Make | Model | UOM | Quantity
1 | NVR 32 Chanel | Hikvision | DS-7732NI-M4 | Nos | 4
2 | Glass dome camera 2.8MM | Prama | PT-NC351P3-ISF(D) | Nos | 20
3 | Glass dome camera 4MM | Prama | PT-NC351P3-ISF(D) | Nos | 38
4 | Turret Camera 2.8MM | Prama | PT-NC143D3-IUF(D) | Nos | 46
5 | Turret Camera 4MM | Prama | PT-NC143D3-IUF(D) | Nos | 8
6 | Bullet Camera 4MM | Prama | PT-NC350P6-IS(D2) | Nos | 6
7 | RJ45 connector | D-LINK | d-link | Box | 2
8 | POE switch 24 port | Cisco | CBS-350 24P 4G | Nos | 6
9 | Patch panel 24 port | Molex | Molex | Nos | 7
10 | Rack 32U with PDU 12 port(5AMP,15AMP) | Legrand | 600*800 | Nos | 1
11 | Cat-6 cable (305mtrs) | Molex | Red | Box | 14
12 | 4K LED TV 43 Inch |  |  | Nos | 2
13 | VGA cable 15 meter |  |  | Nos | 1
14 | Wireless Mouse | HP | S500 | Nos | 4
15 | HDMI 10meter(4K) |  |  | Nos | 4
16 | 8TB hard Disk | WD | WD purple | Nos | 16
| Aditional |  |  |  |  | Camera Details | Camera Nos | Cat-6 Cable | Total cable
CCTV Systems | [5 empty] | 1 to 6 | 6 | 15 | 90
Sr. NO. | Assets | Make | Model | UOM | Quantity | 7 to 11 | 5 | 20 | 100
1 | NVR 32 Chanel | Hikvision | DS-7732NXI-K4 | Nos | 16 | 12 to 18 | 7 | 25 | 175
2 | Glass dome camera 2.8MM | Hikvision | DS-2CD2143G2-IU | Nos | 60 | 19 to 25 | 6 | 30 | 180
3 | Glass dome camera 4MM | Hikvision | DS-2CD2143G2-IU | Nos | 200 | 26 to 30 | 6 | 35 | 210
4 | Turret Camera 2.8MM | Hikvision | DS-2CD1343G0-IUF | Nos | 220 | 31 to 35 | 5 | 40 | 200
5 | Bullet Camera 4MM | Hikvision | DS-2CD3T56G2-4IS | Nos | 50 | 36 to 40 | 5 | 45 | 225
6 | RJ45 connector | D-LINK | d-link | Nos | 800
7 | POE switch 24 port | Cisco | CBS-350 24P 4G | Nos | 24
8 | Patch panel 24 port | Molex | Molex | Nos | 24 |  |  | Total | 1180
9 | Rack 30U with PDU 12 port(5AMP,15AMP) | Legrand | 600*800 | Nos | 4 |  | cat-6 box |  | 305 | Meter
10 | Cat-6 cable (305mtrs) | Molex | Red | Box | 80 |  | Total Box |  | 3.8689 | Box
11 | 4K LED TV 43 Inch |  |  |  | 16

## Security
Quotation
Techne AI Private Limited
2nd Floor, CTS No 338C, Moodliar Chambers Co- Op Hsg Society Ltd, Rasta Peth, Pune, Pune, Maharashtra, 411011 |  |  |  |  | Date | 2024-06-05
[5 empty] | Quote | 230912-24
Reference Number :
To, CSJ Sambhaji Nagar Office, Maharashtra. |  | Techneai Location's GST Number : 27AAICT434D1ZG
Customer ID :
Valid Until : 1 Week
Bank Name : State Bank Of India
A/C No : 40101461754 , IFSC :
Branch : Pune Main
SR NO | ITEM NAME | MODEL NO | MAKE | UOM | Quantity | PRICE | RATE
1 | Control Panel Wireless | DS-PWA96-KIT-WB | HIKVISION | NOS | 1 |  | 0
2 | wireless Repeter panel | DS-PR1-WB | HIKVISION | Nos | 1
2 | Panic switch wireless (wall mount) | DS-PDEB1-EG2-WB | HIKVISION | Nos | 16 |  | 0
3 | Wireless LCD Keypad | DS-PK1-LT-WB | HIKVISION | NOS | 1 |  | 0
4 | Wireless Outdoor sounder | DS-PS1-E-WB | HIKVISION | NOS | 1 |  | 0
5 | Wireless PIR Sensor | DS-PDD12P-EG2-WB | HIKVISION | NOS | 36 |  | 0
6 | Wireless Shutter Sensor | DS-PDMC-EG2-WB | HIKVISION | NOS | 3
7 | Wireless Door Sensor | DS-PDMCS-EG2-WB | HIKVISION | NOS | 1
8 | Wired Shutter Sensor | NA | HIKVISION | NOS | 3
9 | Wireless Indoor Sounder | DS-PS1-I-WB | HIKVISION | NOS | 1 |  | 0
| NET TOTAL AMOUNT | [5 empty] | 0
Terms & Condition: • Taxes Exclusive at Actuals • Above information is not an invoice and only an estimate of services/goods described above. • Payment schedule 70% advance & 30% balance amount after project finalize. • Delivery charges and travelling charges extra. • Civil work is not in our scope. • CCTV cable considered approximetly. Cable will charge at actual after installation. • Waranty- 1 Year free service provided by Techne AI. • Waranty- 1 Year waranty of cameras and NVR. • Validity of quote- 15 day
Mobile No - WhatsApp - Email ID:
Thank You For Your Business!

## Fire
Nanded
Fire system
Sr. NO. | Assets | Type | Make | Model | UOM | Quantity
1 | 8 ZONE PANEL CONVENTIONAL with Battery (Metal Body) | Wired | Ravel | RE-2558 | Nos | 1
2 | 2 WIRE SMOKE DETECTOR | Wired | Ravel | RE 316S-2L | Nos | 84
3 | 2 WIRE HEAT DETECTOR | Wired | Ravel | RE 316H-2L | Nos | 4
4 | MCP | Wired | Ravel | RE-716 MR | Nos | 5
5 | RI | Wired | Ravel |  | Nos | 44
6 | STROBE CUM HOOTER | Wired | Ravel |  | Nos | 2
7 | SOUNDER | Wired | Ravel |  | Nos | 1
8
9

## Cat-6 Cable
Camera Details | Camera Nos | Cat-6 Cable | Total cable | UOM
1 to 6 | 6 | 15 | 90 | Meter
7 to 15 | 9 | 20 | 180 | Meter
16 to 25 | 10 | 25 | 250 | Meter
26 to 35 | 10 | 30 | 300 | Meter
36 to 45 | 10 | 35 | 350 | Meter
46 to 55 | 10 | 40 | 400 | Meter
56 to 70 | 15 | 45 | 675 | Meter
71 to 85 | 15 | 50 | 750 | Meter
86 to 100 | 10 | 55 | 550 | Meter
101 to 115 | 15 | 60 | 900 | Meter
|  |  | 0 | Meter
|  |  | 0 | Meter
|  | Total | 4445 | Meter
| cat-6 box |  | 305 | Meter
| Total Box |  | 14.5738 | Box
For Stock cat-6 cable |  |  | 0 | Box
|  | Total | 14.5738 | Box
HDMI Cable 10mtrs | 5
VGA Cable 15mtrs | 1